## Slide 1: Advances in Soft X-Ray beamlines design
Software for Optical Simulations WORKSHOP
Trieste October 3-7, 2016

## Slide 2: Toroidal Grating Optical Path Length
Fermat’s principle: Of all possible paths, light takes the path which requires the shortest time.

## Slide 3: Main terms
Rowland Condition

## Slide 4: Resolution Terms and Magnification

## Slide 5: Spherical Grating Monochromator SGM
α
β
2θ
m=1 (SHADOW -1)
m=-1 (SHADOW 1)

## Slide 6: SGM Ray Tracing at 600 eV

## Slide 7: SGM Ray Tracing at 1000 eV
Not at focus

## Slide 8: SGM Ray Tracing at 1000 eV, corrected

## Slide 9: SGM Ray Tracings Resolution
50 µm
100 µm
20 µm
3 µm

## Slide 10: Plane Grating
Plane grating (without VLS) does not focus
Grating magnifies (or demagnifies), c factor

## Slide 11: Collimated PGM, vertical plane; c=2
Toroidal Mirror:
  Collimates beam in meridional direction (Vertically)
  Focuses in sagittal direction at slit (horizontally)
Plane Mirror + Plane grating
  Keeps outgoing direction
  Controls grating magnification, c
Cylindrical Mirror
  Focuses the collimated beam onto the exit slit
28 m
2 m
1 m
≈
9 m
≈

## Slide 12: Collimated PGM, vertical plane; c=2
28 m
2 m
1 m
≈
9 m
≈

## Slide 13: Collimated PGM, vertical plane; c=2

## Slide 14: Collimated PGM, Horizontal plane; c=2
With slope errors
28 m
2 m
1 m
≈
9 m
≈

## Slide 15: Collimated PGM, Horizontal plane; c=5
With slope errors
28 m
2 m
1 m
≈
9 m
≈
5.8/2.5=2.32

## Slide 16: Why to go vertical
Why to go vertical
why an entrance slit function
Need to focus
Collimated, slope errors
SGM
PGM with ellipsoidal, slope errors
PGM collimated
VLS PGM spherical mirror
FVLSPGM
correction for bump
Follath optimized for elliptical